## Pricing
Sunrise Rye Brook - VE request for pricing Rev 1 10/6/2026 - Northern Wolves AC
Fill in unit price and lead time. Electric heat: all 208 V / 3 ph, kW rated at 208 V (note any item only available 208 V / 1 ph).
1A VAV with electric reheat
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
1A | VAV-1 | Movement Studio 1045 | 12 | 1200 | 825 | 8 | 1 | ea
1A | VAV-2 | Fitness 1044 | 14 | 1450 | 1350 | 13 | 1 | ea
1A | VAV-3 | Multi-Purpose Room 1043 | 14 | 2250 | 1150 | 11 | 1 | ea
1A | VAV-4 | Theater 1042 | 8 | 700 | 375 | 4 | 1 | ea
1A | VAV-7 | Spa / Salon 1041A | 10 | 700 | 250 | 2.5 | 1 | ea
1A | VAV-9 | Gen. Manager Office 1035 | 8 | 350 | 150 | 1.5 | 1 | ea
1A | VAV-10 | Locker rooms | 6 | 425 | 250 | 3 | 1 | ea
1A | VAV-11 | Art 1032 | 10 | 550 | 500 | 5 | 1 | ea
1A | VAV-15 | AVC 1034B | 6 | 200 | 200 | 2.5 | 1 | ea
1A | VAV-16 | Sales Office 1034C | 6 | 300 | 250 | 3 | 1 | ea
1A | VAV-17 | Family Meeting Room 1002 | 8 | 450 | 450 | 4.5 | 1 | ea
1A | VAV-18A | Treatment Rm 1041C | TBD | TBD | TBD | 3 | 1 | ea
1A | VAV-20 | Library 1007 | 8 | 350 | 150 | 1.5 | 1 | ea
1A | VAV-21 | Store 1008 | 8 | 300 | 150 | 1.5 | 1 | ea
1A | VAV-22 | Activity Room 1009 | 12 | 900 | 250 | 2.5 | 1 | ea
1A | VAV-26 | Private Dining 1016 | 6 | 400 | 200 | 2.5 | 1 | ea
1A | VAV-30 | Private Dining 130 / Dry Storage | 6 | 350 | 200 | 2.5 | 1 | ea
1A | VAV-38 | Family Room 120 | 8 | 450 | 300 | 3.5 | 1 | ea
1A | VAV-39 | Work Room / Sales / Exec. Director | 6 | 400 | 250 | 3 | 1 | ea
1A | VAV-41 | Salon 132A | 8 | 400 | 150 | 1.5 | 1 | ea
1A | VAV-42 | Theater 135 | 12 | 600 | 200 | 2.5 | 1 | ea
1A | VAV-43 | Activity 136 | 14 | 1000 | 400 | 4 | 1 | ea
1A | VAV-44 | Fitness 141 | 16 | 1100 | 500 | 5 | 1 | ea
1A | VAV-45 | Fitness / Wellness Office | 8 | 450 | 350 | 3.5 | 1 | ea
1A | VAV-46 | Wellness Office | 6 | 400 | 200 | 2.5 | 1 | ea
1A | VAV-47 | Exam / AVC Office | 6 | 450 | 300 | 3 | 1 | ea
1B VAV cooling only
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
1B | VAV-8 | IT Office 1036 / AV Closet | 4 | 200 | 100 |  | 1 | ea
1B | VAV-14 | Security 1033 / Package 1003B | 10 | 600 | 600 |  | 1 | ea
1B | VAV-31 | Storage 1031 / Trash 1030 / Receiving | 14 | 1200 | 400 |  | 1 | ea
1B | VAV-32 | Chef Office 1027 | 6 | 150 | 50 |  | 1 | ea
1C VAV cancelled - credit
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
1C | VAV-5 | Corridor / gallery | 8 | 400 | 400 |  | -1 | ea
1C | VAV-6 | Corridor | 8 | 400 | 400 |  | -1 | ea
1C | VAV-12 | Lounge 1004A | 14 | 1300 | 1300 |  | -1 | ea
1C | VAV-13 | Lounge / Bistro 1004A-B | 10 | 600 | 600 |  | -1 | ea
1C | VAV-18 | Reception 1003A | 8 | 500 | 500 |  | -1 | ea
1C | VAV-19 | Coffee Shop 1006 | 6 | 200 | 50 |  | -1 | ea
1C | VAV-24 | Bistro 1004B | 10 | 550 | 200 |  | -1 | ea
1C | VAV-23 | Restrooms 1012-1013 / Mailroom | 6 | 300 | 100 |  | -1 | ea
1C | VAV-25 | Casual Dining 1015 | 14 | 3000 | 1100 |  | -1 | ea
1C | VAV-27 | Formal Dining 1017 | 14 | 1850 | 425 |  | -1 | ea
1C | VAV-28 | Restrooms / kitchen corridor | 10 | 800 | 525 |  | -1 | ea
1C | VAV-29 | Main Kitchen 1019 | 16 | 1800 | 600 |  | -1 | ea
1C | VAV-33 | AL Dining 128 | 16 | 2500 | 1000 |  | -1 | ea
1C | VAV-34 | Bistro 127 | 14 | 1200 | 450 |  | -1 | ea
1C | VAV-35 | Bistro / dining 127 | 6 | 200 | 200 |  | -1 | ea
1C | VAV-36 | Parlor 131 | 8 | 350 | 150 |  | -1 | ea
1C | VAV-37 | Reception 126 | 8 | 250 | 150 |  | -1 | ea
1C | VAV-40 | Corridor 100C | 6 | 200 | 100 |  | -1 | ea
2A Electric cabinet heaters
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
2A | CH-1 | Movement Studio entry |  | 450 |  | 5.3 | 1 | ea
2A | CH-3 | Pool deck / stair entry |  | 450 |  | 5.3 | 1 | ea
2A | CH-4 | Exterior door at gallery |  | 450 |  | 5.3 | 1 | ea
2A | CH-5 | Fitness entry |  | 450 |  | 5.3 | 1 | ea
2A | CH-12 | Multi-Purpose Room entry |  | 450 |  | 5.3 | 1 | ea
2A | CH-6 | Vestibule 1001 |  | 450 |  | 5.3 | 1 | ea
2A | CH-7 | Formal Dining entry |  | 450 |  | 5.3 | 1 | ea
2A | CH-9 | Trash 1030 / Storage |  | 1,050 |  | 10.4 | 1 | ea
2A | CH-10 | Casual Dining entry |  | 450 |  | 5.3 | 1 | ea
2A | CH-11 | Casual Dining entry |  | 450 |  | 5.3 | 1 | ea
2B Electric unit heaters
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
2B | EUH-1 | Residents' Storage B107 |  |  |  | 3 | 1 | ea
2B | EUH-2 | Trash Collection B106 (exhaust make-up) |  |  |  | 5 | 1 | ea
2B | EUH-3 | Kitchen Storage B113 |  |  |  | 5 | 1 | ea
2B | EUH-4 | Corridor B100 |  |  |  | 3 | 1 | ea
2B | EUH-5 | Residents' Storage B115 |  |  |  | 3 | 1 | ea
2B | EUH-6 | Team Member Lounge B119A |  |  |  | 3 | 1 | ea
2B | EUH-7 | Mechanical B118 |  |  |  | 5 | 1 | ea
2B | EUH-8 | Trash room, AL south (400 CFM exhaust make-up) |  |  |  | 5 | 1 | ea
2B | EUH-9 | Storage room, AL south |  |  |  | 3 | 1 | ea
3 Deleted - credit
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
3 |  | Boilers B-1, B-2, B-3 (1,999 MBH input, fire tube) |  |  |  |  | -3 | ea
3 |  | Boiler pumps BP-1, BP-2 |  |  |  |  | -2 | ea
3 |  | Primary pumps PP-1, PP-2 |  |  |  |  | -2 | ea
3 |  | Glycol / snow melt pumps P-1 to P-4 |  |  |  |  | -4 | ea
3 |  | Heat exchanger HX-3 (826 MBH, 30% PG) |  |  |  |  | -1 | ea
3 |  | Hydraulic separator HS-1, expansion tanks ET-1 / ET-2, air separator AS-1 |  |  |  |  | -1 | lot
3 |  | Chemical pot feeder and glycol fill package |  |  |  |  | -1 | lot
3 |  | Hot water fan coil units FCU-A (basement) |  |  |  |  | -20 | ea
3 |  | Radiators RAD-1, RAD-2 |  |  |  |  | -2 | ea
3 |  | Hot water cabinet heaters CH-1, CH-3 to CH-12 |  |  |  |  | -11 | ea
3 |  | Hot water reheat coils on VAV boxes |  |  |  |  | -47 | ea
3 |  | VAV boxes cancelled (list in section 1C) |  |  |  |  | -18 | ea
4 Alternate deducts
Section | Tag / item | Description | Inlet | Max CFM | Min CFM | Elec. heat kW | Qty | Unit | Unit price | Extended | Lead time | Notes
4 | ALT-1 | Deduct: combination fire / smoke dampers at apartment DOAS branches, 6x4 to 8x6, with actuators (floors 1 to 4) |  |  |  |  | -283 | ea
4 | ALT-2 | Deduct: apartment bath exhaust fans TX-A (75 CFM, ceiling, 120 V) |  |  |  |  | -283 | ea